Job Safety Analysis
	JOB SAFETY ANALYSIS RECORD SHEET

	PLANT/EQUIPMENT:

         Gas Line Pipes  For Sale Order No. : 30008699
	DEPARTMENT:  
	DATE PREPARED:

	DATE ISSUED:


	
	M/S :   Abdul Aziz Ahmed Al Shehri                           General Contractors ( AASCON)
	JSA NO.:  01

	DESCRIPTION OF JOB/TASK:  Dismantling/Removal of  Gas Line Pipes  

	PREPARED BY:
	REVIEWED BY:
	APPROVED BY:

	REFRENCES:

CSSMS                                                                                              Work Permit System 
Construction Safety Manual                                                                 Demolition Job Procedure 

Isolation,  Sale Order No. : 30008699                                                   SA Safety Handbook

	SAFETY EQUIPMENT REQUIRED:        Safety Hat, Safety Shoes , Safety Gloves, Safety Glasses, Ear Plugs ;Fire extinguisher ;  pad lock & hold tag ; caution/ warning tape
Note : Adequate and special PPE must also be considered for this task


	JOB STEP NO.
	SEQUENCE OF BASIC JOB STEPS
	POTENTIAL HAZARDS
	REQUIRED HAZARD CONTROLS/SAFE WORK PROCEDURES

	1
	De energization and isolation of Gas Line Pipes  .
	· Hand and body injury due to stuck up the Gas Line Pipes .
	· Competent and certified electrician ( ACUD maintenance personnel ) should perform switching off the breaker in the cabinet.
· Lock out tag out by the operation and the contractors.
· Double check with the operation foreman the isolation or Gas Line Pipes .

	2
	Dismantling of existing  Gas Line Pipes  .
	· Caught in between large pipes during the cutting activities
· Struck by metallic debris during cutting activity.
· Caught in between scrap pipes and catwalk during temporary relocation at the site.


	· Provision of Fire extinguishers and fire blanket on site.
· Removal and clearing the area from flammable debris before dismantling the Gas Line Pipes .
· Provision of fire watch at the job site.
· Provision of flashback arrestor at the cutting torch and gauges.
· Provision of proper support to the Gas Line Pipes  to be cut, using the heavy equipment forklift with the certified operator.
· Provision of FRC clothing and proper PPE to the workers.
· Properly arrange the dismantled Gas Line Pipes  and metallic catwalk to the temporary designated laydown area and provide warning and safety barricades.
· All scrap metals shall be lay to the ground and avoid high stock file.

	3
	Loading and transporting the dismantled pipes , calves and fittings .
	· Caught by fallen metal during lifting and loading to the trailer truck.
· Fallen scrap materials from the truck during the transportation to contractors yard.


	· Lifting equipment to be operated by certified operator only.
· Watch man and rigger shall be at site, inspection heavy equipment and slings prior to use.

· Properly inspect the supported pipes by competent person prior to move or travel the trailer.




