Job Safety Analysis
	JOB SAFETY ANALYSIS RECORD SHEET

	PLANT/EQUIPMENT:

                         Booster Station # 5
	DEPARTMENT:  SACR/CSD
	DATE PREPARED:
Dec. 10,2017
	DATE ISSUED:
Dec. 11,2017

	
	M/S :   Abdul Aziz Ahmed Al Shehri                           General Contractors ( AASCON)
	JSA NO.:  01

	DESCRIPTION OF JOB/TASK:  Dismantling/Removal of Roof Steel Plates And Bottom Base Of Water Tank

	PREPARED BY:
	REVIEWED BY:
	APPROVED BY:

	REFRENCES:

CSSMS                                                                                              Work Permit System GI-2.100

Construction Safety Manual                                                                 Demolition Job Procedure 

Isolation, LOTO and Use of Hold Tags GI-6.012                                     SA Safety Handbook

	SAFETY EQUIPMENT REQUIRED:        Safety Hat, Safety Shoes , Safety Gloves, Safety Glasses, Ear Plugs ; pad lock & hold tag ; caution/ warning tape
Note : Adequate and special PPE must also be considered for this task


	JOB STEP NO.
	SEQUENCE OF BASIC JOB STEPS
	POTENTIAL HAZARDS
	REQUIRED HAZARD CONTROLS/SAFE WORK PROCEDURES

	1
	De energization and isolation of Electrical and water supply.
	· Electrocution during isolation of electrical supply at the main electrical cabinet.
· Hand and body injury due to stuck up valves.
	· Competent and certified electrician ( ACUD maintenance personnel ) should perform switching off the breaker in the cabinet.
· Lock out tag out by the operation and the contractors.
· Double check with the operation foreman the isolation or tank openings.


	2
	Dismantling of existing roof steel plates and bottom base of water tank.
	· Fire hazard due to use of oxy/acetylene cutting torch.
· Explosion of compressed gas.
· Caught in between large pipes during the cutting activities
· Struck by metallic debris during cutting activity.
· Caught in between scrap pipes and catwalk during temporary relocation at the site.


	· Provision of Fire extinguishers and fire blanket on site.
· Removal and clearing the area from flammable debris before dismantling the water tank.
· Provision of fire watch at the job site.
· Provision of flashback arrestor at the cutting torch and gauges.
· Provision of proper support to the water tank to be cut, using the heavy equipment forklift with the certified operator.
· Provision of FRC clothing and proper PPE to the workers.
· Properly arrange the dismantled water tank and metallic catwalk to the temporary designated laydown area and provide warning and safety barricades.
· All scrap metals shall be lay to the ground and avoid high stock file.



	3
	Loading and transporting the dismantled pipes , calves and fittings .
	· Caught by fallen metal during lifting and loading to the trailer truck
· Fallen scrap materials from the truck during the transportation to contractors yard.


	· Lifting equipment to be operated by certified operator only.
· Watch man and rigger shall be at site, inspection heavy equipment and slings prior to use.

· Properly inspect the supported pipes by competent person prior to move or travel the trailer.




